## Ark1
A1 kalkulation af vindmøller på FÆRØERNE kontra modsvarende beregninger for ODIN af Ole Dalgaard 6.10.2026
| WINDMILLS | WINDMILLS | WINDMILLS | ODIN | ODIN | ODIN 1/1 EFFEKT |  | ODIN | ODIN 1 /2 EFFEKT |  |  | ODIN 1/4 EFFEKT
| Parameter | VALUE / RESULT | CALCULATION | Parameter | VALUE / RESULT | CALCULATION | Parameter | VALUE / RESULT | CALCULATION | Parameter | VALUE / RESULT | CALCULATION
| Installed capacity | 10 MW (10.000 kW) | like the price of 3-4 modern lLandvindmills | Installed capacity | 10MW | 10 ODINS with 100% capasity | Installed capacity | 10MW | 20 ODINs with 50% capasity | Installed capacity | 10MW | 40 ODINs with 25% capasity | 10 mw
| Yearly Prroduction | 41,6 mill kwh | Based on 4.161 produktion hours (47,5% kapacity factor). | Yearly Production | 65,7mio KWH | based ON 6570 HOURS | Yearly Production | 65,7mio KWH | based ON 6570 HOURS | Yearly Production | 65,7mio KWH | 7,46 mio KWH
| YearlyBrut Income | 1,248 mill gbp | 41.610.000 kWh ×0,03 GBP /kWh. | YearlyBrut Income | 72,2 mill gbp | 65.700.000,- x 0,11gbp | YearlyBrut Income | 72,2 mill gbp | 65.700.000,- x 0,11gbp | YearlyBrut Income | 72,2 mill gbp | 65.700.000,- x 0,11gbp
| Manitenence OPEX | 0,23 mill GBP | Estimeret 0,01GBP pr. produced kWh in hill areas | Maintenence OPEX | 0,37 MILL GBP | Estimate 0,11GBP pr. produced kWh in hill areas | Manitenence OPEX | 0,37 MILL GBP | Estimate 0,11GBP pr. produced kWh in hill areas | Manitenence OPEX | 0,37 MILL GBP | Estimate 0,11GBP pr. produced kWh in hill areas
| Yearly net. income (Cashflow) | 1,02mill gbp | Bruttoincome minus OPEX. | Yearly net. income (Cashflow) | 7,08 MILL GBP | Bruttoindtægt minus OPEX. | Yearly net. income (Cashflow) | 7,08 MILL GBP | Bruttoindtægt minus OPEX. | Yearly net. income (Cashflow) | 7,08 MILL GBP | 7,08 MILL GBP
| Maksimal investering (CAPEX) | 7,04 mill GBP | to hit 7,5 years return af invest | Maksimal investering (CAPEX) | 8,5MILL GBP | EXPECTED OUTPUT 1mw X 10MW | Maksimal investering (CAPEX) | 17 MILL GBP | EXPECTED OUTPUT 0,5 mw X 20 ODINS | Maksimal investering (CAPEX) | 34 MILL GBP | lovest output 4 x 10 ODIN 1 Odin = 0,125MW
| RETURN OF INVEST | 7,04/1.02= 6,9yrs |  | RETURN OF INVEST | 8,5 /7,08=1,2 yrs |  | RETURN OF INVEST | 17 /7,08=2,4 YEARS |  | RETURN OF INVEST | 34/7,08=4,8 yrs
| total turnover | 15 yrs x 1,02 = 15.3 mill gbp |  | total turnover | 15 yrs x 7,08= 106,2 mill gbp |  | total turnover | 15 yrs x 7,08= 106,2 mill gbp |  | total turnover | 15 yrs x 7,08= 106,2 mill gbp
| NET income | 8,1yrs x 1,021 mill= 8,3 mill gbp |  | NET income | 13,8 yrs x 7,08= 97,7 mill gbp |  | NET income | 12,6 yrs x 7,08= 89,2 mill gbp |  | NET income | 10,2 yrsx 7,08= 72,2 mill gbp
A1 prices
| Landvind | 0,03 -0,05GBP | pr KWH
| SeaVind | 0,04 - 0,07GBP | pr KWH
| Tidal energy GB | 0,11 - 0,34GBP | pr KWH
Because we need to make the very last test of ODIN we made
| tidal energy has min. 4 times the value of Vind energy |  |  | theese caculations in a way so we also to see "how bad it could go if the actual EFFEKT of ODINs are were very low?
ODIN will still be a much better busines than investing in Wind energy
hvor stor en del af tiden kan man forvente energiproduktion | A1 oplyser:
fra LANDVIND | 20-35% AF TIDEN | for Landvind |  | the simple ODIN construction makes it probable that ODIN clusters can produce green energy
fra HAVVIND | 40-50% af tiden | for Seawind |  | for 50 yrs or more | we only need to replace bearings when they are worn
TIDEVAND | 75% af tiden | for Tidal energy |  | if we add just 15 yrs extra the net income for ODINs, each 10MW cluster will bring
VI FORVENTER at kunne producere 1-1,5 MW med et ODIN standard anlæg |  |  |  | from year 15 to year 30 | 7,46 mill - 0,74 mill = | 6,72 mill gbp pr . Year
Vi har i ovennævnte kalkulationer brugt værdier som er voldsomt lave i forhold til det forventede niveau |  |  |  | 15 years extra : 6,72 mill x 15 = 100,8 mill gbp
formålet er at se hvor god en avance ODIN har, selv hvis den endelige test skulle vise usandsynligt lave
produktionsværdier |  |  |  | Total after 30 yrs | 97,7 + 100,8 = | 198 mill gbp
Det er sikkerheden for en god forretning, som kan blive mange gange bedre.
Bemærk at prisen for tidevandsenergi er sat til 1,00dkr - hvor oplysningerne siger 1,10 til 3,75 dkr |  |  |  | please remark that we have calculated 0,11gbp pr. produced kwh
as the price can go up to 0,34 gbp there is possibilities for 3 times higher income